## A&D 2016 Prices
A&D Australasia Price Look-Up
Laboratory Weighing & Precision Instruments |  |  | 2016/17
Product Short Description | Pan Size | Product Code | List Price $AUS | Discount Restrictions
HR-251A 252g/61g x 1mg/0.1mg Compact Analytical (SMART RANGE) | f 90mm | 06032802 | 1750
HR-251AZ 252g/61g x 1mg/0.1mg Compact Analytical (SMART RANGE) | f 90mm | 06032901 | 1980
HR-250A 250g x 0.1mg Compact Analytical Balance | f 90mm | 06032900 | 1920
HR-250AZ 250g x 0.1mg Compact Analytical Balance | f 90mm | 06032800 | 2150
HR-A OP-02 USB Interface with cable |  | 06054001 | 195
HR-A OP-08 Ethernet Interface & WinCT Plus |  | 06054002 | 995
HR-A OP-09 Built in Rechargeable Battery |  | 06054003 | 650
AD-1654 Density Kit for FX/Z & HR-A/AZ Series |  | 06036350 | 1110
GR-200 210g x 0.1mg Professional Analytical Balance | f 85mm | 06034100 | 3560
GR-202 42g / 210g x 0.01 / 0.1mg Professional Semi-micro Balance | f 85mm | 06034200 | 5995
GR-300 310g x 0.1mg Professional Analytical Balance | f 85mm | 06034300 | 5565
GH-252 101g / 250g x 0.01/ 0.1mg High Capacity Professional Semi-micro Balance | f 90mm | 06034900 | 6680
GH OP-02 USB Interface |  | 06034001 | 195
GH OP-08 Ethernet Interface & WinCT Plus |  | 06034002 | 995
BM-20 Premium Series Micro Balance 22g x 1µg | f 25mm | 06035000 | 18995
BM-22 Premium Series Micro Balance 5.1g x 1µg / 22g x 10µg | f 25mm | 06035400 | 17995
BM-252 Premium SeriesSemi-micro Balance 250g x 10µg | f 90mm | 06035300 | 10950
BM-200 Premium Series Analytical Balance 220g x 0.1mg | f 90mm | 06035500 | 8950
BM-300 Premium SeriesAnalytical Balance 320g x 0.1mg | f 90mm | 06035600 | 9350
BM-500 Premium SeriesAnalytical Balance 500g x 0.1mg | f 90mm | 06035700 | 9995
BM OP-08 Ethernet Interface & WinCT Plus |  | 06035002 | 1220
BM OP-14 Pipette Test Kit (for 1µg models) |  | 06035001 | 2840
AD-1653 Density Kit for GR/GH/BM Series |  | 06036300 | 1110
AD-1670 Anti Vibration Table |  | 06035200 | 2110
AD-1672 Table-top Breeze Break |  | 06035100 | 2215
FX-300i 320g x 0.001g Precision Lab Balance | ø 130mm | 06054020 | 1095
FX-500i 520g x 0.001g Precision Lab Balance | ø 130mm | 06054120 | 1265
FX-3000i 3200g x 0.01g Precision Lab Balance | ø 150mm | 06054050 | 1375
FX-5000i 5200g x 0.01g Precision Lab Balance | ø 150mm | 06054150 | 1430
FZ-300i 320g x 0.001g Precision Lab Balance - Internal Cal | ø 130mm | 06056010 | 1325
FZ-500i 520g x 0.001g Precision Lab Balance - Internal Cal | ø 130mm | 06056110 | 1485
FZ-3000i 3200g x 0.01g Precision Lab Balance - Internal Cal | ø 150mm | 06056020 | 1710
FZ-5000i 5200g x 0.01g Precision Lab Balance - Internal Cal | ø 150mm | 06056120 | 1820
FX-300iWP 320g x 0.001g Water & Dust Proof Precision Balance | ø 130mm | 06055020 | 1885
FX-3000iWP 3200g x 0.01g Water & Dust Proof Precision Balance | ø 150mm | 06055050 | 1890
FZ-300i WP 320g x 0.001g Water & Dust Proof Precision Balance | ø 130mm | 06056030 | 2215
FZ-3000i WP 3200g x 0.01g Water & Dust Proof Precision Balance | ø 150mm | 06056040 | 2215
FZ-300i 320g x 0.01g Precision Lab Balance - Internal Cal NMI | ø 130mm | 06056010 | 1435
FZ-3000i 3200g x 0.1g Precision Lab Balance - Internal Cal NMI | ø 150mm | 06056020 | 1820
FZ-300i WP 320g x 0.01g Water & Dust Proof Precision Balance NMI | ø 130mm | 06056030 | 2325
FZ-3000i WP 3200g x 0.1g Water & Dust Proof Precision Balance NMI | ø 150mm | 06056040 | 2325
Optional Square Pan (also approved by NMI) | 180x180mm | 06054009 | 195
FX-i OP-02 USB Interface with cable |  | 06054001 | 195
FX-i OP-08 Ethernet Interface with WinCT Plus |  | 06054002 | 965
FX-i OP-09 Built in Rechargeable Battery |  | 06054003 | 635
FX-i OP-10 Small Breeze Break |  | 06054004 | 200
FX-i OP-11 Large Breeze Break |  | 06054005 | 295
FX-i-WP OP-10 Small Breeze Break |  | 06054006 | 200
FX-i-WP OP-11 Large Breeze Break |  | 06054007 | 200
FX-i Plastic Protection Cover (box of 5) |  | AX-FXI-31 | 85
AD-1654 Density Kit for FX/Z & HR-A/AZ Series |  | 06036350 | 1110
GX-200 210g x 0.001g ** (ex Japan) | 128 x 128mm | 06052007 | 2110
GX-400 410g x 0.001g ** | 128 x 128mm | 06052006 | 2215
GX-600 610g x 0.001g ** | 128 x 128mm | 06052005 | 3335
GX-800 800g x 0.001g | 128 x 128mm | 06052008 | 3895
GX-1000 1000g x 0.001g | 128 x 128mm | 06052009 | 4395
GX-2000 2100g x 0.01g ** (ex Japan) | 165 x 165mm | 06052004 | 2105
GX-4000 4100g x 0.01g ** | 165 x 165mm | 06052000 | 2215
GX-6100 6100g x 0.01g ** | 165 x 165mm | 06052002 | 3335
GX-8000 8100g x 0.1g ** | 165 x 165mm | 06052001 | 1945
GF-300 310g x 0.001g ** (ex Japan) | 128 x 128mm | 06052200 | 1890
GF-400 410g x 0.001g ** | 128 x 128mm | 06052300 | 1995
GF-1200 1210g x 0.01g ** | 165 x 165mm | 06052600 | 1775
GF-3000 3100g x 0.01g ** (ex Japan) | 165 x 165mm | 06052800 | 1890
GF-4000 4100g x 0.01g ** | 165 x 165mm | 06052400 | 1995
GF-6000 6100g x 0.1g ** | 165 x 165mm | 06052900 | 1555
GF-6100 6100g x 0.01g ** | 165 x 165mm | 06052901 | 2995
GX-200 210g x 0.01g ** (ex Japan) NMI | 128 x 128mm | 06052007 | 2220
GX-400 410g x 0.01g ** NMI | 128 x 128mm | 06052006 | 2325
GX-600 610g x 0.01g ** NMI | 128 x 128mm | 06052005 | 3445
GX-2000 2100g x 0.1g ** (ex Japan) NMI | 165 x 165mm | 06052004 | 2215
GX-4000 4100g x 0.1g ** NMI | 165 x 165mm | 06052000 | 2325
GX-6100 6100g x 0.1g ** NMI | 165 x 165mm | 06052002 | 3445
GX-8000 8100g x 1g ** NMI | 165 x 165mm | 06052001 | 2055
GF-300 310g x 0.01g ** (ex Japan) NMI | 128 x 128mm | 06052200 | 2000
GF-400 410g x 0.01g ** NMI | 128 x 128mm | 06052300 | 2105
GF-1200 1210g x 0.1g ** NMI | 165 x 165mm | 06052600 | 1885
GF-3000 3100g x 0.1g ** (ex Japan) NMI | 165 x 165mm | 06052800 | 2000
GF-4000 4100g x 0.1g ** NMI | 165 x 165mm | 06052400 | 2105
GF-6000 6100g x 1g ** NMI | 165 x 165mm | 06052900 | 1665
GF-6100 6100g x 0.1g ** NMI | 165 x 165mm | 06052901 | 3105
Buzzer/RS232 & Current Loop |  | 06052504 | 495
GFX OP-06 Analog/Current Loop Output |  | 06052505 | 1575
GFX OP-10 Glass Breeze Break (200g to 600g) |  | 06052503 | 600
GFX OP-11 Glass Breeze Break (2000g to 8000g) |  | 06052502 | 600
GFX OP-12 Animal Weighing Pan |  | 06052501 | 375
GFX OP-13 Density Determination Kit |  | 06052500 | 1025
GFX Plastic cover (200/300/400/600g models)(pack of 5) |  | AX-073003691-S | 105
GFX Plastic cover (1200 to 8000g models)(pack of 5) |  | AX-073003692-S | 105
Protective Cover for GX/F-K (pack of 5) |  | AX-073007197-S | 105
GX-8K2 2000g/8100g x 0.01g/0.1g | 210 x 270mm | 06062900 | 3395
GX-8K 8100g x 0.01g ** | 210 x 270mm | 06062100 | 4455
GX-10K 10100g x 0.01g ** | 210 x 270mm | 06062800 | 4645
GX-20K 20000g x 0.1g ** | 210 x 270mm | 06062500 | 4425
GX-30K 30000g x 0.1g ** | 210 x 270mm | 06062700 | 5225
GX-8K 8100g x 0.1g ** NMI | 210 x 270mm | 06062100 | 4565
GX-10K 10100g x 0.1g ** NMI | 210 x 270mm | 06062800 | 4755
GX-20K 20000g x 1g ** NMI | 210 x 270mm | 06062500 | 4535
GX-30K 30000g x 1g ** NMI | 210 x 270mm | 06062700 | 5335
GF-8K 8100g x 0.01g (ex Japan) | 210 x 270mm | 06062000 | 4225
GF-10K 10100g x 0.01g | 210 x 270mm | 06062300 | 4545
GF-12K 12000g x 0.1g | 210 x 270mm | 06062200 | 4085
GF-30K 30000g x 0.1g | 210 x 270mm | 06062600 | 4895
GX-K OP-04 Comparator Output with Buzzer/RS232/CL |  | 06052504 | 495
GX-K OP-06 Analog Output/Current Loop |  | 06052505 | 1625
GP-12KA 12kg x 0.1g | 384 x 344mm | 06072001 | 4785
GP-20KA 21kg x 0.1g | 384 x 344mm | 06072002 | 5455
GP-32KA 6.1/31kg x 0.1/1g | 384 x 344mm | 06072008 | 4995
GP-30KA 31kg x 0.1g | 384 x 344mm | 06072004 | 5995
GP-61KA 61 kg x 0.1g | 384 x 344mm | 06072009 | 7790
GP-40KA 41kg x 0.5g | 384 x 344mm | 06072005 | 6680
GP-100KA 101kg x 1g (ex Japan) | 386 x 346mm | 06072006 | 9970
GP-102KA 61/101kg x 1/10g(ex Japan) | 386 x 346mm | 06072007 | 8855
GP-30KS 31kg x 0.1g | 386 x 346mm | 06072010 | 5995
GP-32KS 6/31kg x 0.1/1g (ex Japan) | 386 x 346mm | 06072011 | 5340
GP-60KS 61kg x 1g (ex Japan) | 386 x 346mm | 06072012 | 6565
GP-61KS 61kg x 0.1g (ex Japan) | 386 x 346mm | 06072013 | 7995
GP-12KA 12kg x 1g NMI | 384 x 344mm | 06072001 | 4895
GP-20KA 21kg x 1g NMI | 384 x 344mm | 06072002 | 5565
GP-32KA 31kg x 1g NMI | 384 x 344mm | 06072008 | 5105
GP-30KA 31kg x 1g NMI | 384 x 344mm | 06072004 | 6105
GP-100KA 101kg x 10g (ex Japan) NMI | 386 x 346mm | 06072006 | 10080
GP-102KA 101kg x 10g(ex Japan) NMI | 386 x 346mm | 06072007 | 8965
GP-30KS 31kg x 1g NMI | 386 x 346mm | 06072010 | 6105
GP-32KS 31kg x 1g (ex Japan) NMI | 386 x 346mm | 06072011 | 5450
GP-60KS 61kg x 10g NMI | 386 x 346mm | 06072012 | 6675
GP OP-04 Comparator output/RS232C/Current Loop |  | 06072104 | 490
GP OP-06 Analog / current loop output |  | 06052505 | 1575
GP OP-20 Underhook for GP-12K/20K/32K/30K/30KS/40K |  | 06072120 | 410
GP OP-21 Underhook for GP-60K/100K/100KS/102K |  | 06072121 | 410
Plastic cover for GP Display (pack of 5) |  | 10-73004753-5S | 105
Compact Scales & Balances |  |  | 2016/17
Product Short Description | Pan Size | Product Code | List Price
HT-120 120g x 0.01g Compact Balance with Case | f70mm | 06315000 | 185
HT-300 300g x 0.1g Compact Balance with Case | 132 x 130 mm | 06311000 | 110
HT-500 500g x 0.1g Compact Balance with Case | 132 x 130 mm | 06312000 | 140
HT-3000 3000g x 1g Compact Balance with Case | 132 x 130 mm | 06313000 | 110
HT-5000 5000g x 1g Compact Balance with Case | 132 x 130 mm | 06314000 | 140
Stainless pan option for HT series |  | 06311010 | 45
TB-200 AC adaptor for HT |  | ECTB-200 | 65
Replacement carry case for HT |  | 06310103 | 20
EJ-210 210g x 0.01g Compact Balance | f110mm | 06044010 | 495
EJ-410 410g x 0.01g Compact Balance | f110mm | 06044030 | 655
EJ-610 610g x 0.01g Compact Balance | f110mm | 06044040 | 775
EJ-1500 1500g x 0.1g Compact Balance | 127 x 140 mm | 06044050 | 495
EJ-4100 4100g x 0.1g Compact Balance | 127 x 140 mm | 06044080 | 660
EJ-6100 6100g x 0.1g Compact Balance | 127 x 140 mm | 06044090 | 775
EJ-123 120g x 0.001g Compact Milligram Balance | f110mm | 06044123 | 625
EJ-303 300g x 0.001g Compact Milligram Balance | f110mm | 06044303 | 775
EJ OP-02 Quick USB Interface |  | 06044001 | 155
EJ OP-03 RS-232C Interface |  | 06044002 | 110
EJ OP-07 Underhook for EJ-3000/4100/6100 |  | 06044003 | 85
EJ OP-08 Underhook for EJ-1500/2000 |  | 06044004 | 85
EJ OP-11 Tilting Breeze Break |  | 06044005 | 115
EJ OP-12 Carry Case |  | 06044006 | 160
EJ OP-13 Density Determination Kit |  | 06044007 | 160
EW-150i 30/60/150g x 0.01/0.02/0.05g Industrial Compact Balance | f110mm | 06043700 | 550
EW-1500i 300/600/1500g x 0.1/0.2/0.5g Industrial Compact Balance | 133 x 170mm | 06043800 | 550
EW-12Ki 3000/6000/12000g x 1/2/5g Industrial Compact Balance | 133 x 170mm | 06043900 | 550
EW-150i 60/150g x 0.02/0.05g Industrial Compact Balance NMI | f110mm | 06043700 | 660
EW-1500i 300/600/1500g x 0.1/0.2/0.5g Industrial Compact Balance NMI | 133 x 170mm | 06043800 | 660
EW-12Ki 3000/6000/12000g x 1/2/5g Industrial Compact Balance NMI | 133 x 170mm | 06043900 | 660
EK-410i 400g x 0.01g Industrial Compact Balance | f110mm | 06042101 | 820
EK-610i 600g x 0.01g Industrial Compact Balance | f110mm | 06042201 | 995
EK-3000i 3000g x 0.1g Industrial Compact Balance | 133 x 170mm | 06043400 | 775
EK-4100i 4000g x 0.1g Industrial Compact Balance | 133 x 170mm | 06042301 | 820
EK-6100i 6000g x 0.1g Industrial Compact Balance | 133 x 170mm | 06042401 | 995
EK-6000i 6000g x 1g Industrial Compact Balance | 133 x 170mm | 06043500 | 820
EK-12Ki 12000g x 1g Industrial Compact Balance | 133 x 170mm | 06043600 | 995
EK-410i 400g x 0.1g Industrial Compact Balance NMI | f110mm | 06042101 | 930
EK-610i 600g x 0.1g Industrial Compact Balance NMI | f110mm | 06042201 | 1105
EK-4100i 4000g x 1g Industrial Compact Balance NMI | 133 x 170mm | 06042301 | 930
EK-6100i 6000g x 1g Industrial Compact Balance NMI | 133 x 170mm | 06042401 | 1105
EKWi OP-04 Comp/Relay Output |  | 06043001 | 315
EKW OP-07 Underhook for 6000g/12kg models only |  | 06041004 | 210
EKWi OP-09 Rechargeable battery pack (Ni-MH) |  | 06043003 | 315
Protective Cover for EKWi (pack of 5) |  | AX-3005824-5S | 75
EK-300EP 300g x 0.01g New | f110mm | 06046100 | 1555
EK-3000EP 3000g x 0.1g New | 133 x 170mm | 06046200 | 1555
EK-12KEP 12kg x 1g New | 133 x 170mm | 06046300 | 1555
EK-EP carry case |  | 06044006 | 160
EK-15KL 15kg x 0.1g New | 300 x 210mm | 06045100 | 995
EK-30KL 30kg x 1g / 3kg x 0.1g New | 300 x 210mm | 06045200 | 995
SJ-1000HS 1000g x 0.5g Compact Bench Scale | 230 x 190 mm | 06303040 | 275
SJ-2000HS 2000g x 1g Compact Bench Scale | 230 x 190 mm | 06304050 | 275
SJ-5000HS 5000g x 2g Compact Bench Scale | 230 x 190 mm | 06304060 | 275
SJ-12KHS 12 kg x 0.005kg Compact Bench Scale | 230 x 190 mm | 06304070 | 275
SJ-5001HS 5000g x 1g Compact Bench Scale | 230 x 190 mm | 06304080 | 300
SJ-20KHS 20 kg x 0.01 kg Compact Bench Scale | 230 x 190 mm | 06305000 | 300
SJ-30KHS 30 kg x 0.02 kg Compact Bench Scale | 230 x 190 mm | 06305010 | 300
SJ-1000HS 1000g x 1g Compact Bench Scale (NMI ver) | 230 x 190 mm | 06303000 | 300
SJ-2000HS 2000g x 2g Compact Bench Scale (NMI ver) | 230 x 190 mm | 06303010 | 300
SJ-5000HS 5000g x 5g Compact Bench Scale (NMI ver) | 230 x 190 mm | 06303020 | 300
SJ-12KHS 10/12 kg x 0.01/0.02kg Compact Bench Scale (NMI ver) | 230 x 190 mm | 06303030 | 300
SJ-3000WP 3000g x 0.5g Water/Dust proof Bench Scale NMI | 230 x 190 mm | 06305200 | 495
SJ-6000WP 6000g x 1g Water/Dust proof Bench Scale NMI | 230 x 190 mm | 06305300 | 495
SJ-15KWP 15kg x 2g Water/Dust proof Bench Scale NMI | 230 x 190 mm | 06305400 | 495
SJ-30KWP 30kg x 5g Water/Dust proof Bench Scale NMI | 230 x 190 mm | 06305500 | 495
SK-1000WP 1000g x 0.5g Water/Dust proof Bench Scale IP-65 NMI | 232 x 192mm | 06400100 | 595
SK-2000WP 2000g x 1g Water/Dust proof Bench Scale IP-65 NMI | 232 x 192mm | 06400200 | 595
SK-5000WP 5000g x 2g Water/Dust proof Bench Scale IP-65 NMI | 232 x 192mm | 06400300 | 595
**SK-5001WP 5000g x 1g Water/Dust proof Bench Scale IP-65 | 232 x 192mm | 06400600 | 595
SK-10KWP 10kg x 0.005kg Water/Dust proof Bench Scale IP-65 NMI | 232 x 192mm | 06400400 | 595
SK-20KWP 20kg x 0.01kg Water/Dust proof Bench Scale IP-65 NMI | 232 x 192mm | 06400500 | 595
HL-300WP 300g x 0.1g | 128 x 128mm | 06410100 | 475
HL-1000WP 1000g x 0.5g | 128 x 128mm | 06410200 | 475
HL-3000WP 3000g x 1g | 128 x 128mm | 06410300 | 475
HL-3000LWP 3000g x 1g (Large Platform) | 174 x 137mm | 06410400 | 495
HJ-150 Pocket Balance 150 g x 0.1 g | 60 x 64 mm | 06310700 | 85
Industrial, Logistics & Retail Weighing |  |  | 2016/17
Product Short Description | Pan Size | Product Code | List Price
EM-300KAL 300 kg x 0.1 kg Economy Platform Scale | 500 x 600 mm | 06500400 | 775
EM-150KAL 150 kg x 0.02 kg Economy Platform Scale | 500 x 400 mm | 06500100 | 395
EM-60KAL 60 kg x 0.01 kg Economy Platform Scale | 500 x 400 mm | 06500200 | 395
EM-30KAM 30 kg x 0.005 kg Economy Platform Scale | 350 x 300 mm | 06500300 | 335
EM-03 RS232 Interface |  | 06500011 | 55
EM-12 Tilting indicator bracket |  | 06500012 | 55
EM-14 Desktop Stand |  | 06500013 | 55
EM-17 5m Load Cell Extension Cable |  | 06500014 | 55
FG-150KAL 150kg x 0.05kg Trade Approved Platform Scale (Large Base) NMI | 530 x 390 mm | 03175740 | 840
FG-60KAL 60 kg x 0.02kg Trade Approved Platform Scale (Large Base) NMI | 530 x 390 mm | 03175730 | 840
FG-150 KAM 150 kg x 0.05kg Trade Approved Platform Scale (Small Base) NMI | 380 x 300 mm | 03175720 | 795
FG-60KAM 60 kg x 0.02 kg Trade Approved Platform Scale (Small Base) NMI | 380 x 300 mm | 03175710 | 795
FG-30KAM 30 kg x 0.01 kg Trade Approved Platform Scale (Small Base) NMI | 380 x 300 mm | 03175700 | 795
FG-150KBM 150 kg x 0.05 kg Trade Approved Platform Scale (Small Base) NMI | 380 x 300 mm | 03175770 | 795
FG-60KBM 60 kg x 0.02 kg Trade Approved Platform Scale (Small Base) NMI | 380 x 300 mm | 03175760 | 795
FG-30KBM 30kg x 0.01kg Trade Approved Platform Scale (Small Base) NMI | 380 x 300 mm | 03175750 | 795
FG-31 KBM 30 kg x 0.001 kg (Non Trade Only) | 380 x 300 mm | 03175780 | 945
FG-31 KAM 30 kg x 0.001 kg (Non Trade Only) | 380 x 300 mm | 03175790 | 945
FG-23 RS232 Interface |  | 06145101 | 215
FG-24 RS232 Interface & Comparator O/p |  | 06145102 | 215
HV-15KGL [15 x 0.005/6 x 0.002/3 x 0.001]kg NMI | 250 x 250 mm | 03150200 | 1055
HV-60KGL [60 x 0.02/30 x 0.01/15 x 0.005]kg NMI | 330 x 424 mm | 03150300 | 1165
HV-200KGL [220 x 0.1/150 x 0.05/60 x 0.02]kg NMI | 390 x 530 mm | 03150500 | 1275
HV-15KGV [15 x 0.005/6 x 0.002/3 x 0.001]kg NMI | 250 x 250 mm | 03151200 | 1165
HV-60KGV [60 x 0.02/30 x 0.01/15 x 0.005]kg NMI | 330 x 424 mm | 03151300 | 1275
HV-200KGV [220 x 0.1/150 x 0.05/60 x 0.02]kg NMI | 390 x 530 mm | 03151500 | 1380
HW 10KGL 10kg x 0.001kg | 250 x 250 mm | 03160100 | 1055
HW 60KGL 60kg x 0.005kg | 330 x 424 mm | 03160300 | 1165
HW 100KGL 100kg x 0.01kg | 390 x 530 mm | 03160400 | 1275
HW 200KGL 220kg x 0.02kg | 390 x 530 mm | 03160500 | 1275
HW 10KGV 10kg x 0.001kg | 250 x 250 mm | 03161100 | 1165
HW 60KGV 60kg x 0.005kg | 330 x 424 mm | 03161300 | 1275
HW 100KGV 100kg x 0.01kg | 390 x 530 mm | 03161400 | 1380
HW 200KGV 220kg x 0.02kg | 390 x 530 mm | 03161500 | 1380
OP-03 RS232C with comparator o/p & buzzer |  | 03141603D | 430
OP-04 RS422/485 with comparator o/p |  | 03141604D | 430
OP-06 internal printer for HVW-GV only |  | 03141605D | 755
Ribbon for OP-06 |  | MAET-ECR05 | 50
Paper rolls for OP-06 |  | AX-PP-156 | 30
Levelling Leg |  | 07-3007273 | 30
Vinyl cover HVW-G |  | 14-3003217A | 40
HV-60KGV WP Triple weight range NMI |  | 03151700 | 1690
HV-200KGV WP Triple weight range NMI |  | 03151800 | 1905
OP-03 RS232C with comparator o/p & buzzer |  | 03141603D | 445
SE-30KAM Submersible Scale Floor or Bench IP-68 (30 kg x 0.005 kg) NMI | 380 x 300 mm | 06160900 | 885
SE-60KAM Submersible Scale Floor or Bench IP-68 (60 kg x 0.01 kg) NMI | 380 x 300 mm | 06161000 | 885
SE-150KAM Submersible Scale Floor or Bench IP-68 (150 kg x 0.02 kg) NMI | 380 x 300 mm | 06160100 | 885
SE-60KALSubmersible Floor Scale IP-68 (60 kg x 0.01 kg) NMI | 530 x 390 mm | 06160300 | 885
SE-150 KAL Submersible Floor Scale IP-68 (150 kg x 0.02 kg) NMI | 530 x 390 mm | 06160200 | 885
SC-30KAM Stainless Steel Submersible Scale IP-68 (30 kg x 0.005 kg) NMI | 380 x 300 mm | 06160800 | 1620
SC-60KAM Stainless Steel Submersible Scale IP-68 (60 kg x 0.01 kg) NMI | 380 x 300 mm | 06160400 | 1620
SC-150KAM Stainless Steel Submersible Scale IP-68 (150 kg x 0.02 kg) NMI | 380 x 300 mm | 06160500 | 1620
SC-60KAL Stainless Steel Submersible Floor Scale IP-68 (60 kg x 0.01 kg) NMI | 530 x 390 mm | 06160600 | 1725
SC-150 KAL Stainless Steel Submersible Floor Scale IP-68 (150 kg x 0.02 kg) NMI | 530 x 390 mm | 06160700 | 1725
SCE-OP02 Quick USB Interface |  | 06160401 | 215
SCE-OP03 RS-232C + Comparator Relay Output |  | 06160402 | 320
SW-6KS IP-69K Harsh Area Bench Scale 6kg x 1g (2g NMI approved) NMI | 250 x 250 mm | 06161100 | 2225
SW-15KS IP-69K Harsh Area Bench Scale 15kg x 2g (5g NMI approved) NMI | 250 x 250 mm | 06161800 | 2225
SW-15KBM IP-69K Harsh Area Bench Scale15kg x 2g (5g NMI approved) NMI | 380 x 300 mm | 06161200 | 2780
SW-30KBM IP-69K Harsh Area Bench Scale 30kg x 5g (10g NMI approved) NMI | 380 x 300 mm | 06161300 | 2780
SW-60KAM IP-69K Harsh Area Floor Scale 60kg x 10g (20g NMI approved) NMI | 380 x 300 mm | 06161400 | 2780
SW-150KAM IP-69K Harsh Area Floor Scale 150kg x 20g (50g NMI approved) NMI | 380 x 300 mm | 06161500 | 2780
SW-60KAL IP-69K Harsh Area Floor Scale 60kg x 10g (20g NMI approved) NMI | 530 x 390 mm | 06161600 | 3335
SW-150KAL IP-69K Harsh Area Floor Scale 150kg x 20g (50g NMI approved) NMI | 530 x 390 mm | 06161700 | 3335
SW-OP03 RS-232C Serial Interface |  | 06162001 | 375
SW-OP04 RS422/485 Interface |  | 06162002 | 375
SW-OP11 Bench/Wall Bracket |  | 06162004 | 215
SW-60KBM IP-69K Harsh Area Base Only (60 kg Capacity) | 380 x 300 mm | 06162200 | 1665 | 30% max discount applies
SW-150KBM IP-69K Harsh Area Base Only (150 kg Capacity) | 380 x 300 mm | 06162300 | 1665 | 30% max discount applies
SW-60KBL IP-69K Harsh Area Base Only (60 kg Capacity) | 530 x 390 mm | 06162400 | 2225 | 30% max discount applies
SW-150KBL IP-69K Harsh Area Base Only (150 kg Capacity) | 530 x 390 mm | 06162500 | 2225 | 30% max discount applies
FS-6Ki IP-65 Checking Scale 6kg x 0.002kg NMI | 250 x 250 mm | 03078000 | 1610
FS-15Ki IP-65 Checking Scale 15kg x 0.005kg NMI | 250 x 250 mm | 03078010 | 1610
FS-15Ki-L IP-65 Checking Scale 15 kg x 0.005kg NMI | 380 x 300 mm | 03078030 | 1835
FS-30Ki IP-65 Checking Scale 30 kg x 0.01kg NMI | 380 x 300 mm | 03078020 | 1835
FS-03i RS232 + Relay Output |  | 03078001 | 265
FS-04i RS422/485 + Relay Output |  | 03078002 | 320
AD-600KA4 600kg x 0.1kg NOT APPROVED | 600 x 700mm | 03113500 | 2995 | 30% max discount applies
AD-300KA4 300kg x 0.1kg NMI APPROVED | 600 x 700mm | 03113600 | 2995 | 30% max discount applies
SD-200 Warehouse Trolley Scale 200kg x 0.1kg | 600 x 900mm | 06163000 | 1755 | 30% max discount applies
ELP-3000 & AD4406 (Trade Approved) NMI | 1200 x 1200 mm | combo | 3115 | 30% max discount applies
ELP-3000 & AD4407 (Trade Approved) NMI | 1200 x 1200 mm | combo | 3335 | 30% max discount applies
A&D 3000 & AD4406 (Trade Approved) NMI | 1200 x 1200 mm | combo | 1995 | 30% max discount applies
ELP- 1200 & AD4406 (Trade Approved) NMI | 1200 x 1200 mm | combo | 1555 | 30% max discount applies
ELP3000 Galvanised | 1200 x1200 mm | 03010201 | 2665 | 30% max discount applies
ELP3000 Fully Stainless Steel 304 | 1200 x1200 mm | 03010203 | 6680 | 30% max discount applies
A&D3000 Painted | 1200 x 1200mm | 03010102 | 1555 | 30% max discount applies
ELP1200 Economy Pallet Scale (Base Only) | 1200 x 1200 mm | 03010105 | 1115 | 30% max discount applies
Levelling Leg (old style) |  | MC07019.000 | 45 | 30% max discount applies
Levelling Leg (swivel style) |  | MC07032.000 | 45 | 30% max discount applies
Summing Unit Cable for connection to indicator |  | EMKO-11910 | 125 | 30% max discount applies
In ground mounting kit |  | 03010202 | 100 | 30% max discount applies
In ground pit surround 1200 x 1200 mm |  | 03011200 | 430 | 30% max discount applies
Cast Loadcell 7 pin plug for indicator (has holes) |  | EAJM-NJC207-PF | 60 | 30% max discount applies
Cast Loadcell 7 pin socket for basework (has pins) |  | EAJM-NJC207-RM | 60 | 30% max discount applies
Weighbeams 2000kg per set of 2 beams |  | 03181000 | 2775
Weighbeams 2000kg per set of 2 beams with AD-4406 combo NMI |  | 03181000 & 06138600 | 3310
Weighbeams 2000kg per set of 2 beams with AD-4407 combo NMI |  | 03181000 & 06138700 | 3745
OHT 300mm |  | 03020101 | 2980
OHT 600mm |  | 03020102 | 2980
OHT 1200mm |  | 03020103 | 2980
OHT 300mm rail & AD-4407 combo NMI |  | 03020101 & 06138700 | 3495
OHT 600mm rail & AD-4407 combo NMI |  | 03020102 & 06138700 | 3595
OHT 1200mm rail & AD-4407 combo NMI |  | 03020103 & 06138700 | 3595
HV-30KB2WP 30kg | 330 x 424mm | 03122500 | 1115 | 30% max discount applies
HV-60KB1WP 60kg | 390 x 530mm | 03122700 | 1115 | 30% max discount applies
HV-150KB1WP 150kg | 390 x 530mm | 03122900 | 1115 | 30% max discount applies
SC-30BM 30kg IP68 SUS304 Base Only NMI approved | 330 x 424mm | 06160850 | 775 | 30% max discount applies
SC-60BL 60kg IP68 SUS304 Base Only NMI approved | 390 x 530mm | 06160650 | 880 | 30% max discount applies
SC-150BL 150kg IP68 SUS304 Base Only NMI approved | 390 x 530mm | 06160750 | 995 | 30% max discount applies
SB-15K10-D 15kg | 250 x 250 mm | 03132203D | 555 | 30% max discount applies
SB-60K11-D 60kg | 330 x 424 mm | 03132303D | 610 | 30% max discount applies
SB-100K12-D 100kg | 390 x 530 mm | 03132403D | 665 | 30% max discount applies
SB-200K12-D 220kg | 390 x 530 mm | 03132503D | 665 | 30% max discount applies
HC-3Ki 3kg (min piece weight 0.005g) | 300 x 210 mm | 06012600 | 500
HC-6Ki 6kg (min piece weight 0.01g) | 300 x 210 mm | 06012700 | 500
HC-15Ki 15kg (min piece weight 0.02g) | 300 x 210 mm | 06012800 | 500
HC-30Ki 30kg (min. piece weight 0.05g) | 300 x 210 mm | 06012900 | 500
HCi OP-03 RS232C Serial Data Interface |  | 06012003 | 180
HCi OP-04 RS232C + Relay Output |  | 06012004 | 235
HCi OP-08 Extension Cable (2m) |  | 06012008 | 105
*FC-500Si 500g (min piece weight 0.00005g)* | 128 x 128mm | 06020100 | 2785
*FC-5000Si 5000g (min piece weight 0.0005g)* | 165 x 165mm | 06020200 | 2785
FC-5000i 5000g (min piece weight 0.005g) | 300 x 280mm | 06020400 | 2335
FC-10Ki 10kg (min piece weight 0.01g) | 300 x 280mm | 06020500 | 2335
FC-20Ki 20kg (min piece weight 0.02g) | 300 x 280mm | 06020600 | 2335
FC-50Ki 50kg (min piece weight 0.05g) | 300 x 280mm | 06020700 | 2335
FCi OP-01 Barcode Reader |  | 06020105 | 535
FCi OP-03 Dual Channel RS232C |  | 06020101 | 600
FCi OP-04 RS232C & Comp/Relay Output |  | 06020102 | 600
FCi OP-05 Remote Scale Connector |  | 06020103 | 430
FCi OP-02 Ni-MH Battery Pack (10 hours) |  | 06020104 | 860
Serial Cable - DB9 Female to DB9 Female |  | 03000007 | 55
SF-6KA Dual range 3/6kg x 1/2g NMI | 300 x 280mm | 06307000 | 730 | 30% max discount applies
SF-15KA Dual range 6/15kg x 2/5g NMI | 300 x 280mm | 06307500 | 730 | 30% max discount applies
SF-30KA Dual range 15/30kg x 5/10g NMI | 300 x 280mm | 06307100 | 730 | 30% max discount applies
SF-6KB Dual range 3/6kg x 1/2g NMI | 300 x 280mm | 06307200 | 620 | 30% max discount applies
SF-15KB Dual range 6/15kg x 2/5g NMI | 300 x 280mm | 06307600 | 620 | 30% max discount applies
SF-30KB Dual range 15/30kg x 5/10g NMI | 300 x 280mm | 06307900 | 620 | 30% max discount applies
SG-6KA Dual range 3/6kg x 1/2g NMI | 300 x 280mm | 06308100 | 620 | 30% max discount applies
SG-15KA Dual range 6/15kg x 2/5g NMI | 300 x 280mm | 06308200 | 620 | 30% max discount applies
SG-30KA Dual range 15/30kg x 5/10g NMI | 300 x 280mm | 06308300 | 620 | 30% max discount applies
SFG OP-03 RS232C Serial Data Interface NMI |  | 06300023 | 215 | 30% max discount applies
AP30i 2kg / 30kg x 1g / 10g NMI | 306 x 306 mm | 03079911 | 1840 | 30% max discount applies
HV-15KRS Retail POS Scale 3/6/15kg x 1/2/5g NMI approved | 330 x 424mm | 03150204 | 1555
Checkweighing & Process Control |  |  | 2016/17
Product Short Description | Pan Size | Product Code | List Price
EZI-Check BASIC - Gravity Roller Checkweigher 30kg | 600 x 700mm | 03051080 | 4950 | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check AUTO - Driven Roller Checkweigher 30kg | 600 x 700mm | 03051085 | 9950 | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check 2KG INTELLIGENT - Checkweigher 500g/2000g |  | 03055000 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check 6KG INTELLIGENT - Checkweigher 6kg |  | 03055800 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check - OP-06 Drop Conveyor module |  | 03055030 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check - OP-02 Flipper/Diverter module |  | 03055010 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check - OP-03 Air Blast module |  | 03055020 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check - OP-04 Push Ram reject module |  | 03055030 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check DETECT - Metal Detector 350mm x 100mm aperture |  | 03055500 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check DETECT - Metal Detector 350mm x 170mm aperture |  | 03055700 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
EZI-Check DETECT - Metal Detector 350mm x 250mm aperture |  | 03055600 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
A&D Dolphin 4404 Intelligent Checkweigher |  | 03051010 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
Option 01 – 3 Zone Colour Traffic Lamps |  | 03051050 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
Option 02 – Flipper Rejection |  | 03051051 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
Option 03 – Air Blast Rejection |  | 03051052 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
Option 04 – Push Ram Rejection |  | 03051053 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
A&D Red Dot 16 x 80 Remote Display |  | 06086770 | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
IP65 Stainless Steel Enclosure |  | SS ENC | JH to Advise | Dealer restrictions apply for inspection systems. Inquire with A&D
AD-4406 Control Cabinet |  | 06138430 | 2465 | Dealer restrictions apply for inspection systems. Inquire with A&D
A&D Basic - Start/Stop Control Box |  | 03052000 | 455 | Dealer restrictions apply for inspection systems. Inquire with A&D
A&D Standard - Start/Stop/Jog Control Box |  | 03052010 | 595 | Dealer restrictions apply for inspection systems. Inquire with A&D
A&D Intelligent - Start/Stop/Jog (PLC) |  | 03052020 | 850 | Dealer restrictions apply for inspection systems. Inquire with A&D
Medical Weighing & Healthcare |  |  | 2016/17
Product Short Description | Pan Size | Product Code | List Price
HVL-CS Chair Scale |  | 03040610 | 2160 | 30% max discount applies
PW-200KGL Personal Scale | 530 x 390 mm | 03160600 | 1080
WCS |  | 03040810 | 3795 | 30% max discount applies
Walk on Bariatric |  | 03040710 | 2995 | 30% max discount applies
UC-321 Series 150 kg x 0.05kg | 310 x 310 mm | 09030200 | 295 | 30% max discount applies
UC-321 PL Series 200 kg x 0.1kg | 310 x 310 mm | 09030800 | 295 | 30% max discount applies
UC-352 SCALE 200kg x 0.1kg | 311 x 310 mm | 09018400 | 175 | 30% max discount applies
UC-355 250kg capacity |  | 09030901 | 385 | 30% max discount applies
AD-6121A 150kg x 100g |  | 09030900 | 395 | 30% max discount applies
Wellbeing Personal Scale | 310 x 310 mm | 09030400 | 70 | 30% max discount applies
Software Data Capture & Peripherals |  |  | 2016/17
Product Short Description | Pan Size | Product Code | List Price
Multiweigher WIMS Dynamic Weighing Data Suite |  | 06086001 | POA
Multiweigher WIMS Sampling Station Data Suite |  | 06086002 | POA
WinCT Plus - Multi Scale data capture & import utitilty - LAN or Serial |  |  | POA
AD-1687 Weighing Data Logger |  | 06037000 | 775
AD-1688 Data Logger - save up to 5000 data sets |  | 09022000 | 275
AD-8527 Quick USB adapter - capture data directly into excel |  | 09023000 | 275
AD-8121 Statistical Printer |  | 06090800 | 995
AD-8121 OP-01 current loop cable to suit units |  | 06090801 | 105
AD-1691 Weighing Environment Analyser |  | 06037100 | POA
Parani SD-1000 Bluetooth serial adapter |  | 06087502 | 310
RS232 to USB conversion cable |  | 03000006 | 90
AD-720Di Matrix Printer |  | 0609906 | 790
AD-1683 Static Eliminator |  | 06087300 | 1775
AD-3661 Portable Noise Analyser |  |  | POA
AD-1641 Air Flow data logger |  |  | POA
ML-50 Industrial Precision Moisture Analyser | f 85mm | 06036450 | 2325
MF-50 Advanced Industrial Precision Moisture Analyser | f 85mm | 06036400 | 3645
MX-50 Advanced Industrial Precision Moisture Analyser | f 85mm | 06036900 | 4285
MS-70 Advanced Industrial Precision Moisture Analyser | f 85mm | 06036950 | 6995
MS/MX/MF/ML Halogen Lamp 240v 400w |  | MAAX-34-240V | 460
MS/MX/MF/ML Reuseable trays - qty 100 |  | MAAX-31PANMXMF | 285
MS/MX Temperature Calibration Meter |  | MAAX-43CALMX | 1075
MS/MX/MF/ML Plastic Display Cover - 2 pcs |  | MAAX-38COVERMXMF | 105
MS/MX/MF/ML 15.66% test sample - 30g x 12pcs |  | MAAX-33TESTMXMF | 385
RV10000A Rheometer |  | 06090103 | POA | 30% max discount applies
SV-1A 0.8-1000 cP /0.8-1000mPa/s |  | 06090101 | 11135 | 30% max discount applies
SV-10A 0.3-10000cP/0.3-10000mPa/s |  | 06090102 | 11135 | 30% max discount applies
SV-10 0.3-10,000cP / 0.3-10,000mPa/s |  | 06090100 | 8905 | 30% max discount applies
SV-100 1-100Pa/s |  | 06090200 | 8905 | 30% max discount applies
AX-SV-33 35ml sample cup(10 pcs) |  | MAAX-SV-33 | 275 | 30% max discount applies
AX-SV-34 10ml sample cup(10 pcs) |  | MAAX-SV-34 | 275 | 30% max discount applies
AX-SV-35 13ml glass sample cup |  | MAAX-SV-35 | 445 | 30% max discount applies
AX-SV-36 Vertical Position lock |  | MAAX-SV-36 | 325 | 30% max discount applies
AX-SV-37 Water Jacket Unit |  | MAAX-SV-37 | 495 | 30% max discount applies
AX-SV-42 Analog output(0-1V) (ex Japan) |  | MAAX-SV-42 | 1555 | 30% max discount applies
AX-SV-43 5m Display Extension cable (ex Japan) |  | MAAX-SV-43 | 550 | 30% max discount applies
AX-SV-58 2ml Sample Cups (100pcs) |  | MAAX-SV-58 | 440 | 30% max discount applies
AD-4212B-PT Pipette Accuracy Tester | 5ml / 30ml | 06090300 | 12245 | 30% max discount applies
AD-4212A-PT Pipette Accuracy Tester | 5ml / 30ml | 06090301 | 9995 | 30% max discount applies
FX-300i-PT Pipette Accuracy Tester | 5ml / 30ml | 06090302 | 4450 | 30% max discount applies
AD-1690 Pipette Leak Tester |  | 06090303 | 2560 | 30% max discount applies
OP-01 Tube Set |  | 06090304 | 330 | 30% max discount applies
OP-02 Tube Set |  | 06090305 | 330 | 30% max discount applies
MPA-10 Single channel electronic pipette 0.5-10mL |  | MPA-10 | 715 | 30% max discount applies
MPA-20 Single channel electronic pipette 2-20mL |  | MPA-20 | 715 | 30% max discount applies
MPA-200 Single channel electronic pipette 10-200mL |  | MPA-200 | 715 | 30% max discount applies
MPA-1200 Single channel electronic pipette 100-1200mL |  | MPA-1200 | 715 | 30% max discount applies
MC-1000 Mass Comparator 1100g x 0.1mg (ex Japan) | 128 x 128mm | 06036010 | 9995
MC-6100 Mass Comparator 6100g x 1mg (ex Japan) | 165 x 165mm | 06036060 | 9995
MC-10K Mass Comparator 10.1kg x 1mg (ex Japan) | 210 x 270mm | 06036000 | 10600
MC-30K Mass Comparator 31kg x 0.01g (ex Japan) | 210 x 270mm | 06036030 | 11125
MC-OP-PAN Auto Centering Pan for MC series (ex Japan) |  | 06036001 | 1555
AD-4212B Analytical production weighing system |  | Multiple | POA
AD-4212C Production line weighing system |  | Multiple | POA
Indicators & Load Cells |  |  | 2016/17
Product Short Description | Pan Size | Product Code | List Price
AD-4408A Fieldbus Indicator |  | 06148000 | 1995
AD-4410 Indicator |  | 06134500 | 1995
AD-4430 DIN Rail Indicator |  | 06149000 | 995
AD4541-I 4 mA to 20mA Output |  | 06134200 | 555
AD4541-V -2V to +2V Output |  | 06134300 | 555
AD-4532B Super High Speed Testing Indicator |  | 06230700 | 1665
OP-01 BCD Output (40-Pin FCN Connector) |  | 06230504 | 330
OP-04 RS-232C (D-Sub 9 Pin) |  | 06230505 | 330
OP-07 D/A Analog Voltage/Current Output (+/-10V, 4-20 mA) |  | 06230503 | 440
OP-08 Ethernet Interface (RJ-45) |  | 06230506 | 775
AD-4405 Mains Indicator |  | 06138500 | 1135
OP-03 RS422/RS485 interface |  | 06138503 | 405
OP-06 Dot Matrix Printer |  | 06138506 | 765
OP-05 RS232 & Relay output |  | 06138505 | 405
OP-07 4-20mA Analog output |  | 06138507 | 405
AD-4406 Mains or Batt Compact Indicator | 4000 | 06138600 | 495
OP-03 RS422/485 |  | 06138603 | 445
OP-04 Programmable RS232C |  | 06138604 | 165
OP-05 RS232 & Relay output |  | 06138605 | 445
OP-07 4-20mA Analog output |  | 06138607 | 550
OP-12 Stainless-Steel bracket (wall or desk) |  | 03176100 | 50
AD-4407 240v IP65 Stainless Steel Indicator | 4000 | 06138700 | 995
OP-03 RS422/485 |  | 06138703 | 495
OP-05 RS232 & Relay output |  | 06138705 | 495
OP-07 4-20mA Analog output |  | 06138707 | 730
AD-4401 High Speed Batching Indicator | 3000 | 06138300 | 1890
AD-4401 OP-01 B.C.D. Output |  | 06138301 | 460
AD-4401 OP-03 RS422/RS485 Interface |  | 06138303 | 460
AD-4401 OP-04 RS232C + Current Loop Serial |  | 06138304 | 460
AD4401 OP-07 Analogue Output |  | 06138307 | 590
AD-4402 Multi Function Weighing Indicator | 10000 | 06138400 | 2995
AD-4402 OP-01 Parallel BCD Output |  | 06138401 | 730
AD-4402 OP-02 Relay Output |  | 06138402 | 730
AD-4402 OP-03 RS-422/RS-485 I/O |  | 06138403 | 730
AD-4402 OP-04 RS-232C I/O |  | 06138404 | 730
AD-4402 OP-05 Parallel I/O |  | 06138405 | 730
AD-4402 OP-07 Analogue Output |  | 06138407 | 830
AD-4402 OP-20 CC-Link Interface |  | 06138420 | 1255
AD-4402 OP-21 DeviceNet Interface |  | 06138421 | 1775
AD-4402 OP-22 PROFIBUS Interface |  | 06138422 | 2225
AD-4404 Advanced Checkweighing Indicator | 10000 | 06139200 | 2995
AD-4328 DC Powered (6~12V) Indicator | 6000 | 06138100 | 995
AD-4328 OP-01 B.C.D. output |  | 06138001 | 375
AD-4328 OP-02 Comparator output open collector |  | 06138002 | 375
AD-4328 OP-03 RS422C/485 Serial Interface + |  | 06138003 | 375
AD-4328 OP-04 RS232C + Current Loop Serial |  | 06138004 | 375
AD-4329 Multi-Interval Indicator | 3000 | 06139100 | 885
AD-4329 OP-02 Comparator Relay Output |  | 06139002 | 375
SW-D Super Washdown Indicator IP-69K |  | 06162100 | 1335
FSi-D IP-65 Checkweighing Indicator |  | 06132500 | 1335
SC-D Waterprood indicator |  | 06163800 | 495
LC-1205-K020 20kg |  | 05025600 | 445 | 30% max discount applies
LC-1205-K050 50kg |  | 05025700 | 445 | 30% max discount applies
LC-1205-K100 100kg |  | 05025100 | 445 | 30% max discount applies
LC-1205-K200 200kg |  | 05025800 | 445 | 30% max discount applies
LC-1205-K500 500kg |  | 05025200 | 445 | 30% max discount applies
LC-1205-T001 1tonne |  | 05025300 | 555 | 30% max discount applies
LC-1205-T002 2tonne |  | 05025400 | 665 | 30% max discount applies
ADALC1-T1 1000kg shear beam loadcell |  | 05070464 | 330 | 30% max discount applies
Stainless Steel Junction Box 4 Input |  | 05070120 | 135 | 30% max discount applies
Stainless Steel Junction Box 6 Input |  | 05070130 | 150 | 30% max discount applies
Stainless Steel Junction Box 8 Input |  | 05070140 | 205 | 30% max discount applies
LCC11 T030 Weighbridge Load Cell | 3000 | 05014700 | 1335 | 30% max discount applies
LCC11 T010 Weighbridge Load Cell | 3000 | 05014705 | 1335 | 30% max discount applies
LCC12 T030 Tank Cell & Restraint System | 3000 | 05014900 | 4455 | 30% max discount applies
LC5217 T025 Shear Beam | 3000 | 05014600 | 2225 | 30% max discount applies
LCM13-K100 100 kg without connector | 3000 | 05073200 | 665 | 30% max discount applies
LCM13-K200 200 kg without connector | 3000 | 05073300 | 665 | 30% max discount applies
LCM13-K300 300 kg without connector | 3000 | 05073400 | 665 | 30% max discount applies
LCM13-K500 500 kg without connector | 3000 | 05072700 | 445 | 30% max discount applies
LCM13-T001 1000 kg without connector | 3000 | 05072800 | 445 | 30% max discount applies
LCM13-T002 2000 kg without connector | 3000 | 05072900 | 665 | 30% max discount applies
LCM13-T003 3000 kg without connector | 3000 | 05073000 | 665 | 30% max discount applies
LCM13-T005 5000 kg without connector | 3000 | 05073100 | 835 | 30% max discount applies
LCZAP1413 Weighing Module Kit- K100 - T001 |  | 05073600 | 775 | 30% max discount applies
LCZAP1414 Weighing Module Kit- T002 & T003 |  | 05073700 | 1335 | 30% max discount applies
LCZAP1415 Weighing Module Kit- T005 |  | 05073800 | 2115 | 30% max discount applies
LC-4102-K10 10kg with connector |  | 05120400 | 495 | 30% max discount applies
LC-4102-K15 15kg with connector |  | 05120300 | 495 | 30% max discount applies
LC-4102-K30 30kg with connector |  | 05120200 | 535 | 30% max discount applies
LC-4102-K60 60kg with connector |  | 05120100 | 505 | 30% max discount applies
LC-4102-K150 150kg with connector |  | 05120500 | 505 | 30% max discount applies
LC-4102-K030WP 30kg without connector |  | 05120201 | 555 | 30% max discount applies
LC-4103-K60 60kg with connector |  | 05110300 | 555 | 30% max discount applies
LC-4103-K100 100kg with connector |  | 05110200 | 445 | 30% max discount applies
LC-4103-K150 150kg with connector |  | 05110100 | 555 | 30% max discount applies
LC-4103-K300 300kg with connector |  | 05110400 | 445 | 30% max discount applies
LC-4103-K60WP 60kg with connector |  | 05110301 | 585 | 30% max discount applies
LC-4103-K100WP 100kg with connector |  | 05110201 | 585 | 30% max discount applies
LC-4103K150WP 150kg with connector |  | 05110101 | 585 | 30% max discount applies
LC-4204-K300 300kg with connector |  | 05015100 | 775 | 30% max discount applies
LC-4204-K600 600kg with connector |  | 05015200 | 775 | 30% max discount applies
LCB03-K003-M 3kg without connector |  | 05074000 | 255 | 30% max discount applies
LCB03-K006-M 6kg without connector |  | 05074100 | 255 | 30% max discount applies
LCB03-K010-M 10kg without connector |  | 05074200 | 255 | 30% max discount applies
LCB03-K015-M 15kg without connector |  | 05074300 | 255 | 30% max discount applies
LCB03-K020-M 20kg without connector |  | 05074400 | 255 | 30% max discount applies
LCB03-K025-L 25kg without connector |  | 05074500 | 255 | 30% max discount applies
LCB03-K030-L 30kg without connector |  | 05074600 | 255 | 30% max discount applies
LCB03-K035-L 35kg without connector |  | 05074700 | 255 | 30% max discount applies
LCB03-K060-L 60kg without connector |  | 05074800 | 255 | 30% max discount applies
LCB05-K030 30kg without connector |  | 05075100 | 1445 | 30% max discount applies
LCB05-K060 60kg without connector |  | 05075200 | 1445 | 30% max discount applies
LCB05-K150 150kg without connector |  | 05075300 | 1445 | 30% max discount applies
Dealer & Product Support Information Spares Products - max 30% discount |  |  | 2016/17
Product Short Description | Pan Size | Product Code | List Price
Serial cable - DB25 Male to DB9 Female | AD4322 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | AD4323 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | AD4324 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | AD4325A/V | 03000001 | 55
Serial cable - DIN Male to DB9 Female | AD4326 | 03000002 | 55
Serial cable - DIN Male to DB9 Female | AD4327 | 03000002 | 55
Serial cable - DB25 Male to DB9 Female | AD4328 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | AD4329 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | AD4401 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | AD4402 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | AD4404 | 03000001 | 55
Serial cable - DB9 Female to DB9 Female | AD4405 | 03000007 | 55
Serial cable - DB9 Female to DB9 Female | AD4406 | 03000007 | 55
Serial Cable-Wire Connection for terminal to DB9 Female | AD4407 | 03000004 | 55
Serial cable - DB9 Female to DB9 Female | EJ | 03000007 | 55
Serial cable - DB25 Male to DB9 Female | EK | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | EK-G | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | EK-H | 03000001 | 55
Serial cable - DB9 Female to DB9 Female | EK-i | 03000007 | 55
Serial cable - DB25 Male to DB9 Female | EW | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | EW-G | 03000001 | 55
Serial cable - DB9 Female to DB9 Female | EW-i | 03000007 | 55
Serial cable - DB25 Male to DB9 Female | FC | 03000001 | 55
Serial cable - DB9 Female to DB9 Female | FC-i & FC-Si | 03000007 | 55
Serial cable - DIN Male to DB9 Female | FG Series | 03000002 | 55
Serial cable - DIN Male to DB9 Female | FG New Series | 03000002 | 55
Serial cable - DIN Male to DB9 Female | FS Series | 03000002 | 55
Serial cable - DIN Male to DB9 Female | FS-KL | 03000002 | 55
Serial cable - DB9 Female to DB9 Female | FZ-i, FX-i | 03000007 | 55
Serial cable - DB25 Male to DB9 Female | FX | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | FY | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | GF | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | GF-K | 03000001 | 55
Serial cable - DB9 Female to DB9 Female | GH | 03000007 | 55
Serial cable - DB25 Male to DB9 Female | GP | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | GR | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | GX | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | GX-K | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | HC & HC-i | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | HD | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | HF | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | HM | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | HP | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | HR-200 | 03000001 | 55
Serial cable - DIN Male to DB9 Female | HV/W | 03000002 | 55
Serial cable - DIN Male to DB9 Female | HV/W-KGL | 03000002 | 55
Serial cable - DIN Male to DB9 Female | HV/W-KGV | 03000002 | 55
Serial cable - DB25 Male to DB9 Female | MF-50 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | ML-50 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | MS-70 | 03000001 | 55
Serial cable - DB25 Male to DB9 Female | MX-50 | 03000001 | 55
Serial Cable-Wire Connection for terminal to DB9 Female | SC/SE/SW | 03000004 | 55
Serial cable - DB25 Male to DB9 Female | SV-10/SV-100/SV-A | 03000001 | 55
Connection Cable DB9 Male to DB9 Female | Zebra Printer | 03000008 | 55
Connection Cable DB9 Male to Din Male | Zebra Printer | 03000009 | 55
DB9 Male to DB25 Female Step Up Connector | All models | 03000005 | 55
DB9 Male to USB Connector |  | 03000006 | 55
Product Short Description | Pan Size | Product Code | List Price
TB-S200 Switching 9V/660mA | A&D Vet Weigh | ECTB-S200 | 65
TB-S200R Switching 9V/660mA | AD-1131 | ECTB-S200-R | 65
TB-S200 Switching 9V/660mA | AD-150 | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | AD-1681 | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | AD-4121A-PT | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | AD-4212B-PT | ECTB-S139 | 65
TB-200 ( 9V 700mA) | AD-4326 | ECTB-200 | 65
TB-200 ( 9V 700mA) | AD-4327 | ECTB-200 | 65
TB-200 ( 9V 700mA) | AD-4328 | ECTB-200 | 65
TB-200 ( 9V 700mA) | AD-4328/AD-4406/AD-4405 OP-03 RS422/485 | ECTB-200 | 65
TB-200 ( 9V 700mA) | AD-4406/AD-4405 OP-03 RS422/485 | ECTB-200 | 65
TB-200 ( 9V 700mA) | AD-4406/AD-4405 OP-07 4 to 20 mA | ECTB-200 | 65
TB-200 ( 9V 700mA) | AD-4406 | ECTB-200 | 65
TB-S200 Switching 9V/660mA | AD-8121 | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | AD-8918 | ECTB-S139 | 65
TB-S200 Switching 9V/660mA | AD-8920 | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | AP30 Series (all models) | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | CH-150/300K | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | CH-150KP | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | EJ Series | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | EK-A series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | EK-G Series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | EK-H series | ECTB-S139 | 65
TB-S200 Switching 9V/660mA | EK-i & EW-i series | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | EW series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | EW-G series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | FA series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | FC series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | FC-i & FC-si series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | FC-i OP-02 Rechargeable Battery | ECTB-S139 | 65
TB-S200 Switching 9V/660mA | FG series | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | FR series | ECTB-S139 | 65
TB-S200 Switching 9V/660mA | FS series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | FS-KL series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | FV Series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | FW series | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | FX series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | FX-i & FX-i WPseries | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | FY series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | FZ-i & FZ-i WP Series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | GF series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | GH Series | ECTB-S139 | 65
TB-301 12v 1.25A | GP series | ECTB-301 | 65
TB-S139 Switching 15V/400mA | GR series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | GX series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | HA series | ECTB-S139 | 65
TB-S200 Switching 9V/660mA | HC series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | HC-i Series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | HD series | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | HF series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | HF-G series | ECTB-S139 | 65
TB-S200 Switching 9V/660mA | HL series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | HL-i Series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | HL-WP Series | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | HM Series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | HP series | ECTB-S139 | 65
TB-S139 Switching 15V/400mA | HR series | ECTB-S139 | 65
TB-S200 Switching 9V/660mA | HT Series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | HV series | ECTB-S200 | 65
TB-300 (8.7v 680mA) Up to Serial # M7311037 | HVG-WP | ECTB-300 | 65
TB-301 (12v 1.25A) Serial # later than M7311037 | HVG-WP | ECTB-301 | 65
TB-S200 Switching 9V/660mA | HV-KGL series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | HVW-G OP-04 RS422/485 | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | HW series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | HW-KGL series | ECTB-S200 | 65
TB-S139 Switching 15V/400mA | HX series | ECTB-S139 | 65
TB-S200R Switching 9V/660mA | MC-2000 | ECTB-S200-R | 65
TB-S200R Switching 9V/660mA | MC-30KA | ECTB-S200-R | 65
TB-S200 Switching 9V/660mA | SA-15 | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | SF-KB series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | SG series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | SJ-HS | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | SK series | ECTB-S200 | 65
TB-S200 Switching 9V/660mA | SK-WP | ECTB-S200 | 65